ProductProfile:

The PN01 Series Recessed Panel Light is a low-glare (UGR<19) LED luminaire featuring an iron frame with powder coating and a PS diffuser. Designed for offices, commercial spaces, and educational environments, It offers a slim 28mm profile with high efficiency up to 125 Lm/W. The recessed mounting design ensures seamless integration into standard ceiling grids.

Options：

> Smart Control:

0-10V Dimming and Triac Dimmer

> CCT: 5 CCT

> Installation:Surface mounting

Product Features：

> Up to 125 Lm/W

> Low glare UGR 19

> CCT & Wattage Adjustable

> IP40 / IK04

> Uniformity is greater than 0.9

> Intelligent energy conservation and environmental protection

> RAL9003 white finish

> 5 years warranty

Applications：

> Office lighting

> Campus lighting

> Commerical lighting

> Etc.

Dimension:                                       Beam Angle:

Technical Data:

| Item | Symbol | 1X1 | 1X2 | 1X4 | 2X2 | 2X4 |
| --- | --- | --- | --- | --- | --- | --- |
| Product Code | / | PN01-11P15E 100-5CT | PN01-12P24E 125-5CT | PN01-14P35E 150-5CT | PN01-22P35E 150-5CT | PN01-24P60E 150-5CT |
| Size | mm | 303*303*28 | 303*603*28 | 303*1213*28 | 603*603*28 | 603*1213*28 |
| Rated Power | W | 15W | 18-24W | 23-30-35W | 23-30-35W | 40-50-60W |
| Luminous Flux | LM | 1500LM | 3000LM | 5250LM | 5250LM | 9000LM |
| Lumen Efficacy | LM/W | 100LM/W | 125LM/W | 150LM/W | 150LM/W | 150LM/W |
| Color Index | Ra | Ra > 80 |  |  |  |  |
| Color consistency | SDCM | SDCM < 5 |  |  |  |  |
| Color Temperature | CCT/K | Single Color:2700K-3000K-3500-4000K-5000K (5CCT) |  |  |  |  |
| UGR | UGR | UGR < 19 |  |  |  |  |
| Beam Angle | Degree | 95 Degrees |  |  |  |  |
| Input Voltage | V | 120V / 60HZ |  |  |  |  |
| Dimming | / | 0-10V Dimming and Triac Dimmer |  |  |  |  |
| Power Factor | PF | PF > 0.95 |  |  |  |  |
| THD | THD | THD < 15% |  |  |  |  |
| Protection Level | IP/IK | IP40 / IK04 |  |  |  |  |
| Fixture Material | / | 6063LA + PS |  |  |  |  |
| Fixture Finish | / | White RAL9003 |  |  |  |  |
| Storage Temperature | ℃ | -40 ~ +80℃ |  |  |  |  |
| Working Temperature | ℃ | -20 ~ +45℃ |  |  |  |  |
| Net Weight | KG | 0.41 | 0.82 | 1.62 | 1.64 | 3.24 |
| Gross Weight | KG | 4.6 | 9.2 | 14.16 | 14.32 | 14.46 |
| Package Size | mm | 415*350*360/ 10pcs | 640*415*360/ 10pcs | 1235*340*340/ 8pcs | 635*340*660/ 8pcs | 1240*195*645/ 4pcs |
| 20GP | pcs | 5,040 | 2,520 | 1,600 | 1,250 | 570 |
| 40GP | pcs | 11,760 | 5,880 | 3,450 | 2,550 | 1,250 |